## YTD Metrics report
Unit | Month | MWH | Period Hours | Gross Maximum Capacity MW | Service Hours | Reserve Shutdown Hours | Available Hours | Available MWH | Forced Outage Hours | Planned Outage Hours | Extended Scheduled Outage Hours | Maintenance Outage Hours | Unavailable Hours | Unplanned Outage Hours | Service Factor | Forced Outage Factor | Availability Factor | Gross Capacity Factor | Unplanned Outage Factor | Number of Reserve Shutdowns | Number of Forced Outages | Number of Planned Outages | Number of Planned Outage Extensions |  | Number of Maintenance Outages | Number of Maintenance Outage Extensions
|  |  | PH | GMC | SH | RSH | AH |  | FOH | POH | ESOH | MOH | UH | UOH | SF | FOF | AF | GCF | UOF |  |  |  | Hours | Count |  | Hours | Count
P01 | 2024-01-01 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P01 | 2024-02-02 | 0 | 696 | 95 | 0 | 0 | 0 | 0 | 0 | 696 | 0 | 0 | 696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P01 | 2024-03-03 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P01 | 2023-04-04 | 50398.5 | 720 | 95 | 718.97 | 1.03 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 99.86 | 0 | 100 | 73.68 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P01 | 2023-05-05 | 53646.3 | 744 | 95 | 744 | 0 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 75.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P01 | 2023-06-06 | 49895.9 | 720 | 95 | 719.18 | 0.82 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 99.89 | 0 | 100 | 72.95 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P01 | 2023-07-07 | 54930.7 | 744 | 95 | 740.48 | 3.52 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 99.53 | 0 | 100 | 77.72 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P01 | 2023-08-08 | 49448 | 744 | 95 | 657.38 | 86.62 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 88.36 | 0 | 100 | 69.96 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P01 | 2023-09-09 | 17190.4 | 720 | 95 | 236.7 | 483.3 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 32.88 | 0 | 100 | 25.13 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P01 | 2023-10-10 | 31157.4 | 744 | 95 | 455.07 | 205.15 | 660.22 | 62720.9 | 0 | 83.78 | 0 | 0 | 83.78 | 0 | 61.17 | 0 | 88.74 | 44.08 | 0 | 16 | 0 | 3 | 0 | 0 | 0 | 0 | 0
P01 | 2023-11-11 | 15018.2 | 720 | 95 | 183.35 | 49.98 | 233.33 | 22166.35 | 0 | 486.67 | 0 | 0 | 486.67 | 0 | 25.47 | 0 | 32.41 | 21.96 | 0 | 6 | 0 | 2 | 0 | 0 | 0 | 0 | 0
P01 | 2023-12-12 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P01 | Total | 321685.4 | 8784 | 95 | 4455.13 | 830.42 | 5285.55 | 502127.25 | 0 | 3498.45 | 0 | 0 | 3498.45 | 0 | 50.5967 | 0 | 60.0958 | 38.4483 | 0 | 60 | 0 | 9 | 0 | 0 | 0 | 0 | 0
P02 | 2024-01-01 | 10104.4 | 744 | 95 | 144.85 | 29.15 | 174 | 16530 | 0 | 570 | 0 | 0 | 570 | 0 | 19.47 | 0 | 23.39 | 14.3 | 0 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P02 | 2024-02-02 | 0 | 696 | 95 | 0 | 0 | 0 | 0 | 0 | 696 | 0 | 0 | 696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P02 | 2024-03-03 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P02 | 2023-04-04 | 21784.7 | 720 | 95 | 280.82 | 429.18 | 710 | 67450 | 0 | 0 | 0 | 10 | 10 | 10 | 39 | 0 | 98.61 | 31.85 | 0.013889 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0
P02 | 2023-05-05 | 53506.4 | 744 | 95 | 734.9 | 0.07 | 734.97 | 69822.15 | 0 | 0 | 0 | 9.03 | 9.03 | 9.03 | 98.78 | 0 | 98.79 | 75.7 | 0.012137 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0
P02 | 2023-06-06 | 50126.9 | 720 | 95 | 709.15 | 10.85 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 98.49 | 0 | 100 | 73.29 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P02 | 2023-07-07 | 50332.4 | 744 | 95 | 689.18 | 54.82 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 92.63 | 0 | 100 | 71.21 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P02 | 2023-08-08 | 47147.2 | 744 | 95 | 637.53 | 106.47 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 85.69 | 0 | 100 | 66.7 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P02 | 2023-09-09 | 28454.3 | 720 | 95 | 414.73 | 305.27 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 57.6 | 0 | 100 | 41.6 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P02 | 2023-10-10 | 32328 | 744 | 95 | 457.22 | 233.58 | 690.8 | 65626 | 10.17 | 43.03 | 0 | 0 | 53.2 | 10.17 | 61.45 | 1.37 | 92.85 | 45.74 | 0.013669 | 23 | 2 | 2 | 0 | 0 | 0 | 0 | 0
P02 | 2023-11-11 | 46515.8 | 720 | 95 | 596.27 | 112.97 | 709.24 | 67377.8 | 0 | 8.88 | 0 | 1.88 | 10.76 | 1.88 | 82.82 | 0 | 98.51 | 68.01 | 0.0026111 | 26 | 0 | 1 | 0 | 0 | 1 | 0 | 0
P02 | 2023-12-12 | 53028.6 | 744 | 95 | 717.62 | 26.38 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 96.45 | 0 | 100 | 75.03 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P02 | Total | 393328.7 | 8784 | 95 | 5382.27 | 1308.74 | 6691.01 | 635645.95 | 10.17 | 2061.91 | 0 | 20.91 | 2092.99 | 31.08 | 61.0317 | 0.11417 | 76.0125 | 46.9525 | 0.0035255 | 172 | 2 | 6 | 0 | 0 | 3 | 0 | 0
P03 | 2024-01-01 | 51020.6 | 744 | 95 | 744 | 0 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 72.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | 2024-02-02 | 44900.1 | 696 | 95 | 696 | 0 | 696 | 66120 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 67.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | 2024-03-03 | 49130.3 | 744 | 95 | 732.22 | 11.78 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 98.42 | 0 | 100 | 69.51 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | 2023-04-04 | 49130.4 | 720 | 95 | 710.7 | 0 | 710.7 | 67516.5 | 0 | 0 | 0 | 9.3 | 9.3 | 9.3 | 98.71 | 0 | 98.71 | 71.83 | 0.012917 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
P03 | 2023-05-05 | 52749 | 744 | 95 | 737.25 | 1.22 | 738.47 | 70154.65 | 0 | 0 | 0 | 5.53 | 5.53 | 5.53 | 99.09 | 0 | 99.26 | 74.63 | 0.0074328 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 0
P03 | 2023-06-06 | 49500.4 | 720 | 95 | 719.4 | 0.6 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 99.92 | 0 | 100 | 72.37 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | 2023-07-07 | 53064.1 | 744 | 95 | 744 | 0 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 75.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | 2023-08-08 | 53557.6 | 744 | 95 | 744 | 0 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 75.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | 2023-09-09 | 45079.6 | 720 | 95 | 720 | 0 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 65.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | 2023-10-10 | 41646.5 | 744 | 95 | 630.1 | 8.98 | 639.08 | 60712.6 | 0 | 104.92 | 0 | 0 | 104.92 | 0 | 84.69 | 0 | 85.9 | 58.92 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P03 | 2023-11-11 | 53190.7 | 720 | 95 | 710.6 | 3.8 | 714.4 | 67868 | 0 | 0 | 0 | 5.6 | 5.6 | 5.6 | 98.69 | 0 | 99.22 | 77.76 | 0.0077778 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0
P03 | 2023-12-12 | 52374.3 | 744 | 95 | 741.83 | 2.17 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 99.71 | 0 | 100 | 74.1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P03 | Total | 595343.6 | 8784 | 95 | 8630.1 | 28.55 | 8658.65 | 822571.75 | 0 | 104.92 | 0 | 20.43 | 125.35 | 20.43 | 98.2692 | 0 | 98.5908 | 71.3325 | 0.0023439 | 10 | 0 | 1 | 0 | 0 | 4 | 0 | 0
P04 | 2024-01-01 | 43821.1 | 744 | 95 | 602.98 | 141.02 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 81.05 | 0 | 100 | 62 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2024-02-02 | 26272.4 | 696 | 95 | 367.88 | 328.12 | 696 | 66120 | 0 | 0 | 0 | 0 | 0 | 0 | 52.86 | 0 | 100 | 39.73 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2024-03-03 | 33838.5 | 744 | 95 | 470.3 | 273.7 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 63.21 | 0 | 100 | 47.88 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2023-04-04 | 4040.5 | 720 | 95 | 55.75 | 664.25 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 7.74 | 0 | 100 | 5.91 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2023-05-05 | 54247.5 | 744 | 95 | 744 | 0 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 76.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2023-06-06 | 49066.8 | 720 | 95 | 694.67 | 25.33 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 96.48 | 0 | 100 | 71.74 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2023-07-07 | 46460.8 | 744 | 95 | 637.42 | 106.58 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 85.67 | 0 | 100 | 65.73 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2023-08-08 | 44278.9 | 744 | 95 | 600.32 | 143.68 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 80.69 | 0 | 100 | 62.65 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2023-09-09 | 12406 | 720 | 95 | 175.42 | 544.58 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 24.36 | 0 | 100 | 18.14 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | 2023-10-10 | 21316.7 | 744 | 95 | 297.5 | 341.58 | 639.08 | 60712.6 | 0 | 104.92 | 0 | 0 | 104.92 | 0 | 39.99 | 0 | 85.9 | 30.16 | 0 | 21 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P04 | 2023-11-11 | 42496.7 | 720 | 95 | 541.65 | 169.63 | 711.28 | 67571.6 | 0 | 0 | 0.72 | 8 | 8.72 | 8 | 75.23 | 0 | 98.79 | 62.13 | 0.011111 | 19 | 0 | 0 | 0 | 0 | 1 | 0.72 | 1
P04 | 2023-12-12 | 42827.9 | 744 | 95 | 574.93 | 169.07 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 77.28 | 0 | 100 | 60.59 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P04 | Total | 421073.8 | 8784 | 95 | 5762.82 | 2907.54 | 8670.36 | 823684.2 | 0 | 104.92 | 0.72 | 8 | 113.64 | 8 | 65.38 | 0 | 98.7242 | 50.2842 | 0.00092593 | 199 | 0 | 1 | 0 | 0 | 1 | 0.72 | 1
P05 | 2024-01-01 | 37975.7 | 744 | 95 | 557.5 | 186.5 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 74.93 | 0 | 100 | 53.73 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2024-02-02 | 22223.5 | 696 | 95 | 363.5 | 332.5 | 696 | 66120 | 0 | 0 | 0 | 0 | 0 | 0 | 52.23 | 0 | 100 | 33.61 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2024-03-03 | 37525.2 | 744 | 95 | 547.1 | 196.9 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 73.53 | 0 | 100 | 53.09 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-04-04 | 30372.2 | 720 | 95 | 464.9 | 255.1 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 64.57 | 0 | 100 | 44.4 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-05-05 | 54770.6 | 744 | 95 | 739.42 | 4.58 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 99.38 | 0 | 100 | 77.49 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-06-06 | 45688.6 | 720 | 95 | 656.6 | 63.4 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 91.19 | 0 | 100 | 66.8 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-07-07 | 34521.4 | 744 | 95 | 478.33 | 265.67 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 64.29 | 0 | 100 | 48.84 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-08-08 | 38621.7 | 744 | 95 | 523.97 | 220.03 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 70.43 | 0 | 100 | 54.64 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-09-09 | 24643.1 | 720 | 95 | 386.4 | 333.6 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 53.67 | 0 | 100 | 36.03 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-10-10 | 37929.4 | 744 | 95 | 570.83 | 173.17 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 76.72 | 0 | 100 | 53.66 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P05 | 2023-11-11 | 38543.3 | 720 | 95 | 512.38 | 96.1 | 608.48 | 57805.6 | 4.02 | 105.5 | 0 | 2 | 111.52 | 6.02 | 71.16 | 0.56 | 84.51 | 56.35 | 0.0083611 | 16 | 4 | 1 | 0 | 0 | 1 | 0 | 0
P05 | 2023-12-12 | 21562.1 | 744 | 95 | 322.07 | 212.58 | 534.65 | 50791.75 | 209.35 | 0 | 0 | 0 | 209.35 | 209.35 | 43.29 | 28.14 | 71.86 | 30.51 | 0.28138 | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0
P05 | Total | 424376.8 | 8784 | 95 | 6123 | 2340.13 | 8463.13 | 803997.35 | 213.37 | 105.5 | 0 | 2 | 320.87 | 215.37 | 69.6158 | 2.3917 | 96.3642 | 50.7625 | 0.024145 | 141 | 5 | 1 | 0 | 0 | 1 | 0 | 0
P06 | 2024-01-01 | 46086.8 | 744 | 95 | 667.03 | 76.97 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 89.65 | 0 | 100 | 65.21 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2024-02-02 | 23665.3 | 696 | 95 | 383.61 | 253.07 | 636.68 | 60484.6 | 0 | 0 | 0 | 59.32 | 59.32 | 59.32 | 55.12 | 0 | 91.48 | 35.79 | 0.08523 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0
P06 | 2024-03-03 | 37838.3 | 744 | 95 | 555.28 | 188.72 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 74.63 | 0 | 100 | 53.53 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2023-04-04 | 12521.6 | 720 | 95 | 209.91 | 502.17 | 712.08 | 67647.6 | 0 | 0 | 0 | 7.92 | 7.92 | 7.92 | 29.15 | 0 | 98.9 | 18.31 | 0.011 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0
P06 | 2023-05-05 | 49898.4 | 744 | 95 | 698.12 | 45.88 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 93.83 | 0 | 100 | 70.6 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2023-06-06 | 42582.5 | 720 | 95 | 618.35 | 101.65 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 85.88 | 0 | 100 | 62.26 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2023-07-07 | 52135 | 744 | 95 | 729.1 | 14.9 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 100 | 73.76 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2023-08-08 | 52973.1 | 744 | 95 | 733.92 | 10.08 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 98.65 | 0 | 100 | 74.95 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2023-09-09 | 38954.4 | 720 | 95 | 621.8 | 98.2 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 86.36 | 0 | 100 | 56.95 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2023-10-10 | 36439.2 | 744 | 95 | 554.42 | 189.58 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 74.52 | 0 | 100 | 51.55 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P06 | 2023-11-11 | 43038.8 | 720 | 95 | 571.9 | 39.23 | 611.13 | 58057.35 | 4.02 | 104.85 | 0 | 0 | 108.87 | 4.02 | 79.43 | 0.56 | 84.88 | 62.92 | 0.0055833 | 12 | 4 | 1 | 0 | 0 | 0 | 0 | 0
P06 | 2023-12-12 | 34444.2 | 744 | 95 | 507.05 | 27.6 | 534.65 | 50791.75 | 209.35 | 0 | 0 | 0 | 209.35 | 209.35 | 68.15 | 28.14 | 71.86 | 48.73 | 0.28138 | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0
P06 | Total | 470577.6 | 8784 | 95 | 6850.49 | 1548.05 | 8398.54 | 797861.3 | 213.37 | 104.85 | 0 | 67.24 | 385.46 | 280.61 | 77.7808 | 2.3917 | 95.5933 | 56.2133 | 0.031933 | 67 | 5 | 1 | 0 | 0 | 2 | 0 | 0
P07 | 2024-01-01 | 42275.4 | 744 | 95 | 581.8 | 162.2 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 78.2 | 0 | 100 | 59.81 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P07 | 2024-02-02 | 22513.5 | 696 | 95 | 322.13 | 373.87 | 696 | 66120 | 0 | 0 | 0 | 0 | 0 | 0 | 46.28 | 0 | 100 | 34.05 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P07 | 2024-03-03 | 50405.3 | 744 | 95 | 712.97 | 31.03 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 95.83 | 0 | 100 | 71.31 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P07 | 2023-04-04 | 0 | 720 | 95 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 0 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-05-05 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-06-06 | 0 | 720 | 95 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 0 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-07-07 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-08-08 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-09-09 | 0 | 720 | 95 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 0 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-10-10 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-11-11 | 25558.8 | 720 | 95 | 178.78 | 48.7 | 227.48 | 21610.6 | 4.02 | 488.5 | 0 | 0 | 492.52 | 4.02 | 24.83 | 0.56 | 31.59 | 37.37 | 0.0055833 | 12 | 4 | 1 | 0 | 0 | 0 | 0 | 0
P07 | 2023-12-12 | 45302.9 | 744 | 95 | 605.45 | 138.55 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 81.38 | 0 | 100 | 64.1 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P07 | Total | 186055.9 | 8784 | 95 | 2401.13 | 754.35 | 3155.48 | 299770.6 | 4.02 | 5624.5 | 0 | 0 | 5628.52 | 4.02 | 27.21 | 0.046667 | 35.9658 | 22.22 | 0.00046528 | 53 | 4 | 8 | 0 | 0 | 0 | 0 | 0
P08 | 2024-01-01 | 25622.8 | 744 | 95 | 348.98 | 395.02 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 46.91 | 0 | 100 | 36.25 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2024-02-02 | 43644.7 | 696 | 95 | 620.73 | 75.27 | 696 | 66120 | 0 | 0 | 0 | 0 | 0 | 0 | 89.19 | 0 | 100 | 66.01 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2024-03-03 | 39131.8 | 744 | 95 | 552.77 | 191.23 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 74.3 | 0 | 100 | 55.37 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2023-04-04 | 0 | 720 | 95 | 0 | 720 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2023-05-05 | 48466.4 | 744 | 95 | 667.32 | 76.68 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 89.69 | 0 | 100 | 68.57 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2023-06-06 | 29119 | 720 | 95 | 414.9 | 305.1 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 57.63 | 0 | 100 | 42.57 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2023-07-07 | 23533.1 | 744 | 95 | 320.32 | 423.68 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 43.05 | 0 | 100 | 33.3 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2023-08-08 | 32403.8 | 744 | 95 | 436.27 | 307.73 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 58.64 | 0 | 100 | 45.85 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2023-09-09 | 14219.4 | 720 | 95 | 196.64 | 441.38 | 638.02 | 60611.9 | 0 | 81.98 | 0 | 0 | 81.98 | 0 | 27.31 | 0 | 88.61 | 20.79 | 0 | 22 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P08 | 2023-10-10 | 13593.6 | 744 | 95 | 182.47 | 555.53 | 738 | 70110 | 0 | 6 | 0 | 0 | 6 | 0 | 24.53 | 0 | 99.19 | 19.23 | 0 | 38 | 0 | 2 | 0 | 0 | 0 | 0 | 0
P08 | 2023-11-11 | 33121.9 | 720 | 95 | 418.88 | 297.1 | 715.98 | 68018.1 | 4.02 | 0 | 0 | 0 | 4.02 | 4.02 | 58.18 | 0.56 | 99.44 | 48.42 | 0.0055833 | 35 | 4 | 0 | 0 | 0 | 0 | 0 | 0
P08 | 2023-12-12 | 33850 | 744 | 95 | 447.17 | 286.28 | 733.45 | 69677.75 | 0 | 0 | 1.02 | 9.53 | 10.55 | 9.53 | 60.1 | 0 | 98.58 | 47.89 | 0.012809 | 21 | 0 | 0 | 0 | 0 | 1 | 1.02 | 1
P08 | Total | 336706.5 | 8784 | 95 | 4606.45 | 4075 | 8681.45 | 824737.75 | 4.02 | 87.98 | 1.02 | 9.53 | 102.55 | 13.55 | 52.4608 | 0.046667 | 98.8183 | 40.3542 | 0.0015327 | 245 | 4 | 3 | 0 | 0 | 1 | 1.02 | 1
P09 | 2024-01-01 | 16665.7 | 744 | 95 | 224.83 | 514.37 | 739.2 | 70224 | 0 | 4.8 | 0 | 0 | 4.8 | 0 | 30.22 | 0 | 99.35 | 23.58 | 0 | 21 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P09 | 2024-02-02 | 40732.7 | 696 | 95 | 581.68 | 114.32 | 696 | 66120 | 0 | 0 | 0 | 0 | 0 | 0 | 83.57 | 0 | 100 | 61.6 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P09 | 2024-03-03 | 33179.7 | 744 | 95 | 471.73 | 272.27 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 63.4 | 0 | 100 | 46.94 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P09 | 2023-04-04 | 31053.8 | 720 | 95 | 453.55 | 256.17 | 709.72 | 67423.4 | 0 | 0 | 0.28 | 10 | 10.28 | 10 | 62.99 | 0 | 98.57 | 45.4 | 0.013889 | 3 | 0 | 0 | 0 | 0 | 1 | 0.28 | 1
P09 | 2023-05-05 | 41843.7 | 744 | 95 | 581.9 | 162.1 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 78.21 | 0 | 100 | 59.2 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P09 | 2023-06-06 | 9820.4 | 720 | 95 | 143.86 | 572.42 | 716.28 | 68046.6 | 3.72 | 0 | 0 | 0 | 3.72 | 3.72 | 19.98 | 0.52 | 99.48 | 14.36 | 0.0051667 | 16 | 1 | 0 | 0 | 0 | 0 | 0 | 0
P09 | 2023-07-07 | 6123.5 | 744 | 95 | 87.35 | 656.65 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 11.74 | 0 | 100 | 8.66 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P09 | 2023-08-08 | 29611.5 | 744 | 95 | 404.37 | 339.63 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 54.35 | 0 | 100 | 41.9 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P09 | 2023-09-09 | 4347 | 720 | 95 | 59.78 | 186.22 | 246 | 23370 | 0 | 474 | 0 | 0 | 474 | 0 | 8.3 | 0 | 34.17 | 6.36 | 0 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P09 | 2023-10-10 | 0 | 744 | 95 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P09 | 2023-11-11 | 0 | 720 | 95 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 0 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P09 | 2023-12-12 | 27420.3 | 744 | 95 | 356.11 | 229.12 | 585.23 | 55596.85 | 0 | 158.77 | 0 | 0 | 158.77 | 0 | 47.86 | 0 | 78.66 | 38.79 | 0 | 24 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P09 | Total | 240798.3 | 8784 | 95 | 3365.16 | 3303.27 | 6668.43 | 633500.85 | 3.72 | 2101.57 | 0.28 | 10 | 2115.57 | 13.72 | 38.385 | 0.043333 | 75.8525 | 28.8992 | 0.001588 | 132 | 1 | 5 | 0 | 0 | 1 | 0.28 | 1
P10 | 2024-01-01 | 47953.6 | 744 | 95 | 696.12 | 43.08 | 739.2 | 70224 | 0 | 4.8 | 0 | 0 | 4.8 | 0 | 93.56 | 0 | 99.35 | 67.85 | 0 | 4 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P10 | 2024-02-02 | 41893.4 | 696 | 95 | 647.52 | 48.48 | 696 | 66120 | 0 | 0 | 0 | 0 | 0 | 0 | 93.03 | 0 | 100 | 63.36 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2024-03-03 | 43439.1 | 744 | 95 | 643.5 | 100.5 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 86.49 | 0 | 100 | 61.46 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2023-04-04 | 29089.7 | 720 | 95 | 445.67 | 274.33 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 61.9 | 0 | 100 | 42.53 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2023-05-05 | 33981.8 | 744 | 95 | 469.25 | 274.75 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 63.07 | 0 | 100 | 48.08 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2023-06-06 | 1111.3 | 720 | 95 | 17.02 | 702.98 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 2.36 | 0 | 100 | 1.62 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2023-07-07 | 1921.1 | 744 | 95 | 28.52 | 715.48 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 3.83 | 0 | 100 | 2.72 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2023-08-08 | 25752.1 | 744 | 95 | 361.32 | 382.68 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 48.56 | 0 | 100 | 36.43 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2023-09-09 | 29682.5 | 720 | 95 | 479.98 | 240.02 | 720 | 68400 | 0 | 0 | 0 | 0 | 0 | 0 | 66.66 | 0 | 100 | 43.4 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | 2023-10-10 | 25398.3 | 744 | 95 | 376.12 | 248.43 | 624.55 | 59332.25 | 13.5 | 105.8 | 0.15 | 0 | 119.45 | 13.5 | 50.55 | 1.81 | 83.94 | 35.93 | 0.018145 | 22 | 1 | 1 | 0.15 | 1 | 0 | 0 | 0
P10 | 2023-11-11 | 38943.7 | 720 | 95 | 509.28 | 200.95 | 710.23 | 67471.85 | 0 | 9.77 | 0 | 0 | 9.77 | 0 | 70.73 | 0 | 98.64 | 56.94 | 0 | 21 | 0 | 1 | 0 | 0 | 0 | 0 | 0
P10 | 2023-12-12 | 39530.4 | 744 | 95 | 542.3 | 201.7 | 744 | 70680 | 0 | 0 | 0 | 0 | 0 | 0 | 72.89 | 0 | 100 | 55.93 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P10 | Total | 358697 | 8784 | 95 | 5216.6 | 3433.38 | 8649.98 | 821748.1 | 13.5 | 120.37 | 0.15 | 0 | 134.02 | 13.5 | 59.4692 | 0.15083 | 98.4942 | 43.0208 | 0.0015121 | 122 | 1 | 3 | 0.15 | 1 | 0 | 0 | 0
PR | TOTAL | 3748643.6 | 87840 |  | 52793.15 | 20529.43 | 73322.58 | 6965645.1 | 462.17 | 13914.97 | 2.17 | 138.11 | 14517.42 | 600.28 | 60.0199 | 0.5185 | 83.4512 | 44.8488 | 0.0067972 | 1201 | 22 | 38 | 0.15 | 1 | 13 | 2.02 | 3
W01 | 2024-01-01 | 33763.3 | 744 | 122 | 469.77 | 274.23 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 63.14 | 0 | 100 | 37.2 | 0 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2024-02-02 | 26024.2 | 696 | 122 | 358.27 | 337.73 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 51.48 | 0 | 100 | 30.65 | 0 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2024-03-03 | 38139.6 | 744 | 122 | 511.33 | 232.47 | 743.8 | 90743.6 | 0.2 | 0 | 0 | 0 | 0.2 | 0.2 | 68.73 | 0.03 | 99.97 | 42.02 | 0.00026882 | 49 | 2 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2023-04-04 | 10198 | 720 | 122 | 148.23 | 571.77 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 20.59 | 0 | 100 | 11.61 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2023-05-05 | 40569.9 | 744 | 122 | 517.3 | 226.43 | 743.73 | 90735.06 | 0 | 0 | 0 | 0.27 | 0.27 | 0.27 | 69.53 | 0 | 99.96 | 44.7 | 0.0003629 | 27 | 0 | 0 | 0 | 0 | 2 | 0 | 0
W01 | 2023-06-06 | 3470.8 | 720 | 122 | 47.72 | 666.03 | 713.75 | 87077.5 | 6.25 | 0 | 0 | 0 | 6.25 | 6.25 | 6.63 | 0.87 | 99.13 | 3.95 | 0.0086806 | 18 | 1 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2023-07-07 | 7027.5 | 744 | 122 | 96.32 | 647.68 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 12.95 | 0 | 100 | 7.74 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2023-08-08 | 25423 | 744 | 122 | 345.09 | 391.28 | 736.37 | 89837.14 | 0 | 7.63 | 0 | 0 | 7.63 | 0 | 46.38 | 0 | 98.97 | 28.01 | 0 | 15 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W01 | 2023-09-09 | 20841.5 | 720 | 122 | 295 | 425 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 40.97 | 0 | 100 | 23.73 | 0 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2023-10-10 | 21919.7 | 744 | 122 | 295.8 | 415.9 | 711.7 | 86827.4 | 0 | 32.3 | 0 | 0 | 32.3 | 0 | 39.76 | 0 | 95.66 | 24.15 | 0 | 44 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W01 | 2023-11-11 | 38082.5 | 720 | 122 | 501.02 | 218.98 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 69.59 | 0 | 100 | 43.35 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W01 | 2023-12-12 | 40354.3 | 744 | 122 | 568.4 | 175.6 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 76.4 | 0 | 100 | 44.46 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W01 | Total | 305814.3 | 8784 | 122 | 4154.25 | 4583.1 | 8737.35 | 1065956.7 | 6.45 | 39.93 | 0 | 0.27 | 46.65 | 6.72 | 47.1792 | 0.075 | 99.4742 | 28.4642 | 0.00077602 | 406 | 3 | 2 | 0 | 0 | 2 | 0 | 0
W02 | 2024-01-01 | 46055.3 | 744 | 122 | 646.82 | 97.18 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 86.94 | 0 | 100 | 50.74 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2024-02-02 | 44470.9 | 696 | 122 | 624.47 | 71.53 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 89.72 | 0 | 100 | 52.37 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2024-03-03 | 53122.7 | 744 | 122 | 718.68 | 25.32 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 96.6 | 0 | 100 | 58.53 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2023-04-04 | 30116 | 720 | 122 | 432.88 | 287.12 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 60.12 | 0 | 100 | 34.29 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2023-05-05 | 48698 | 744 | 122 | 623.68 | 114.7 | 738.38 | 90082.36 | 0 | 0 | 0 | 5.62 | 5.62 | 5.62 | 83.83 | 0 | 99.24 | 53.65 | 0.0075538 | 17 | 0 | 0 | 0 | 0 | 1 | 0 | 0
W02 | 2023-06-06 | 9766.9 | 720 | 122 | 135.32 | 584.68 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 18.79 | 0 | 100 | 11.12 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2023-07-07 | 11704.2 | 744 | 122 | 160.1 | 583.9 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 21.52 | 0 | 100 | 12.89 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2023-08-08 | 35570.4 | 744 | 122 | 481.08 | 262.92 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 64.66 | 0 | 100 | 39.19 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2023-09-09 | 44803.5 | 720 | 122 | 624.92 | 95.08 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 86.79 | 0 | 100 | 51.01 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2023-10-10 | 49222.8 | 744 | 122 | 682.27 | 29.43 | 711.7 | 86827.4 | 0 | 32.3 | 0 | 0 | 32.3 | 0 | 91.7 | 0 | 95.66 | 54.23 | 0 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W02 | 2023-11-11 | 51467.9 | 720 | 122 | 689.85 | 30.15 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 95.81 | 0 | 100 | 58.59 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | 2023-12-12 | 49389.3 | 744 | 122 | 696.22 | 47.78 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 93.58 | 0 | 100 | 54.41 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W02 | Total | 474387.9 | 8784 | 122 | 6516.29 | 2229.79 | 8746.08 | 1067021.76 | 0 | 32.3 | 0 | 5.62 | 37.92 | 5.62 | 74.1717 | 0 | 99.575 | 44.2517 | 0.00062948 | 190 | 0 | 1 | 0 | 0 | 1 | 0 | 0
W03 | 2024-01-01 | 32571.3 | 744 | 122 | 451.67 | 292.33 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 60.71 | 0 | 100 | 35.88 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2024-02-02 | 23346.9 | 696 | 122 | 321.33 | 374.67 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 46.17 | 0 | 100 | 27.5 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2024-03-03 | 33762 | 744 | 122 | 446.05 | 297.95 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 59.95 | 0 | 100 | 37.2 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-04-04 | 7114.4 | 720 | 122 | 102.3 | 617.7 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 14.21 | 0 | 100 | 8.1 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-05-05 | 48714.6 | 744 | 122 | 623.37 | 120.63 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 83.79 | 0 | 100 | 53.67 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-06-06 | 19783.9 | 720 | 122 | 269.02 | 450.98 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 37.36 | 0 | 100 | 22.52 | 0 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-07-07 | 20217.7 | 744 | 122 | 276.65 | 467.35 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 37.18 | 0 | 100 | 22.27 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-08-08 | 33577.4 | 744 | 122 | 451.57 | 292.43 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 60.69 | 0 | 100 | 36.99 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-09-09 | 26087.3 | 720 | 122 | 365.15 | 354.85 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 50.72 | 0 | 100 | 29.7 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-10-10 | 16303.5 | 744 | 122 | 226.1 | 253.15 | 479.25 | 58468.5 | 16.28 | 248.47 | 0 | 0 | 264.75 | 16.28 | 30.39 | 2.19 | 64.42 | 17.96 | 0.021882 | 39 | 1 | 1 | 0 | 0 | 0 | 0 | 0
W03 | 2023-11-11 | 44526.3 | 720 | 122 | 591.63 | 128.37 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 82.17 | 0 | 100 | 50.69 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | 2023-12-12 | 37542.2 | 744 | 122 | 530.6 | 213.4 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 71.32 | 0 | 100 | 41.36 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W03 | Total | 343547.5 | 8784 | 122 | 4655.44 | 3863.81 | 8519.25 | 1039348.5 | 16.28 | 248.47 | 0 | 0 | 264.75 | 16.28 | 52.8883 | 0.1825 | 97.035 | 31.9867 | 0.0018235 | 440 | 1 | 1 | 0 | 0 | 0 | 0 | 0
W04 | 2024-01-01 | 25601 | 744 | 122 | 359.48 | 384.52 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 48.32 | 0 | 100 | 28.2 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2024-02-02 | 24984.3 | 696 | 122 | 358.63 | 337.37 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 51.53 | 0 | 100 | 29.42 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2024-03-03 | 35010.4 | 744 | 122 | 473.38 | 270.62 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 63.63 | 0 | 100 | 38.57 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2023-04-04 | 13753.6 | 720 | 122 | 198.91 | 440.97 | 639.88 | 78065.36 | 0 | 80.12 | 0 | 0 | 80.12 | 0 | 27.63 | 0 | 88.87 | 15.66 | 0 | 11 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W04 | 2023-05-05 | 51848.2 | 744 | 122 | 673.68 | 70.32 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 90.55 | 0 | 100 | 57.12 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2023-06-06 | 29408.3 | 720 | 122 | 403.28 | 316.72 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 56.01 | 0 | 100 | 33.48 | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2023-07-07 | 28603.9 | 744 | 122 | 394.08 | 349.92 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 52.97 | 0 | 100 | 31.51 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2023-08-08 | 33465.5 | 744 | 122 | 452.15 | 291.85 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 60.77 | 0 | 100 | 36.87 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2023-09-09 | 9962.3 | 720 | 122 | 137.25 | 582.75 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 19.06 | 0 | 100 | 11.34 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2023-10-10 | 9892.6 | 744 | 122 | 137.08 | 358.45 | 495.53 | 60454.66 | 0 | 248.47 | 0 | 0 | 248.47 | 0 | 18.42 | 0 | 66.6 | 10.9 | 0 | 25 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W04 | 2023-11-11 | 30119.1 | 720 | 122 | 396.67 | 323.33 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 55.09 | 0 | 100 | 34.29 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | 2023-12-12 | 20319.6 | 744 | 122 | 293.37 | 450.63 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 39.43 | 0 | 100 | 22.39 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W04 | Total | 312968.8 | 8784 | 122 | 4277.96 | 4177.45 | 8455.41 | 1031560.02 | 0 | 328.59 | 0 | 0 | 328.59 | 0 | 48.6175 | 0 | 96.2892 | 29.1458 | 0 | 410 | 0 | 2 | 0 | 0 | 0 | 0 | 0
W05 | 2024-01-01 | 11937 | 744 | 122 | 166.45 | 577.55 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 22.37 | 0 | 100 | 13.15 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W05 | 2024-02-02 | 7288.7 | 696 | 122 | 98.02 | 597.98 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 14.08 | 0 | 100 | 8.58 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W05 | 2024-03-03 | 19023.6 | 744 | 122 | 254.32 | 489.13 | 743.45 | 90700.9 | 0.55 | 0 | 0 | 0 | 0.55 | 0.55 | 34.18 | 0.07 | 99.93 | 20.96 | 0.00073925 | 41 | 1 | 0 | 0 | 0 | 0 | 0 | 0
W05 | 2023-04-04 | 1359 | 720 | 122 | 20.2 | 695.55 | 715.75 | 87321.5 | 0 | 0 | 0.25 | 4 | 4.25 | 4 | 2.81 | 0 | 99.41 | 1.55 | 0.0055556 | 5 | 0 | 0 | 0 | 0 | 1 | 0.25 | 1
W05 | 2023-05-05 | 54357 | 744 | 122 | 711.67 | 32.33 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 95.65 | 0 | 100 | 59.89 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W05 | 2023-06-06 | 36433.7 | 720 | 122 | 500.18 | 219.82 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 69.47 | 0 | 100 | 41.48 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W05 | 2023-07-07 | 36487 | 744 | 122 | 502.55 | 241.45 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 67.55 | 0 | 100 | 40.2 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W05 | 2023-08-08 | 26798.1 | 744 | 122 | 368.22 | 375.78 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 49.49 | 0 | 100 | 29.52 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W05 | 2023-09-09 | 1890.6 | 720 | 122 | 26.9 | 219.18 | 246.08 | 30021.76 | 0 | 473.92 | 0 | 0 | 473.92 | 0 | 3.74 | 0 | 34.18 | 2.15 | 0 | 7 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W05 | 2023-10-10 | 0 | 744 | 122 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W05 | 2023-11-11 | 0 | 720 | 122 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 0 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W05 | 2023-12-12 | 17426.4 | 744 | 122 | 253.72 | 479.65 | 733.37 | 89471.14 | 0 | 10.63 | 0 | 0 | 10.63 | 0 | 34.1 | 0 | 98.57 | 19.2 | 0 | 21 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W05 | Total | 213001.1 | 8784 | 122 | 2902.23 | 3928.42 | 6830.65 | 833339.3 | 0.55 | 1948.55 | 0.25 | 4 | 1953.35 | 4.55 | 32.7867 | 0.0058333 | 77.6742 | 19.7233 | 0.00052457 | 272 | 1 | 4 | 0 | 0 | 1 | 0.25 | 1
W06 | 2024-01-01 | 45547 | 744 | 122 | 650.01 | 93.67 | 743.68 | 90728.96 | 0 | 0 | 0 | 0.32 | 0.32 | 0.32 | 87.37 | 0 | 99.96 | 50.18 | 0.00043011 | 26 | 0 | 0 | 0 | 0 | 1 | 0 | 0
W06 | 2024-02-02 | 36230.7 | 696 | 122 | 516.78 | 179.22 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 74.25 | 0 | 100 | 42.67 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2024-03-03 | 51907 | 744 | 122 | 713.68 | 30.32 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 95.92 | 0 | 100 | 57.19 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-04-04 | 30035.8 | 720 | 122 | 439.88 | 280.12 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 61.09 | 0 | 100 | 34.19 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-05-05 | 56007.8 | 744 | 122 | 731.62 | 12.38 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 98.34 | 0 | 100 | 61.7 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-06-06 | 43494.7 | 720 | 122 | 594.45 | 125.55 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 82.56 | 0 | 100 | 49.52 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-07-07 | 44156.9 | 744 | 122 | 605.58 | 138.42 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 81.4 | 0 | 100 | 48.65 | 0 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-08-08 | 48734.1 | 744 | 122 | 667.55 | 76.45 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 89.72 | 0 | 100 | 53.69 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-09-09 | 42234.2 | 720 | 122 | 600.95 | 80.6 | 681.55 | 83149.1 | 0 | 38.45 | 0 | 0 | 38.45 | 0 | 83.47 | 0 | 94.66 | 48.08 | 0 | 22 | 0 | 2 | 0 | 0 | 0 | 0 | 0
W06 | 2023-10-10 | 48473.4 | 744 | 122 | 687.15 | 56.85 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 92.36 | 0 | 100 | 53.4 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-11-11 | 50876.2 | 720 | 122 | 695.48 | 24.52 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 96.59 | 0 | 100 | 57.92 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | 2023-12-12 | 47801 | 744 | 122 | 690.15 | 53.85 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 92.76 | 0 | 100 | 52.66 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W06 | Total | 545498.8 | 8784 | 122 | 7593.28 | 1151.95 | 8745.23 | 1066918.06 | 0 | 38.45 | 0 | 0.32 | 38.77 | 0.32 | 86.3192 | 0 | 99.5517 | 50.8208 | 3.5842e-05 | 275 | 0 | 2 | 0 | 0 | 1 | 0 | 0
W07 | 2024-01-01 | 34700.4 | 744 | 122 | 485.13 | 248.72 | 733.85 | 89529.7 | 0 | 10 | 0.15 | 0 | 10.15 | 0 | 65.21 | 0 | 98.64 | 38.23 | 0 | 48 | 0 | 1 | 0.15 | 1 | 0 | 0 | 0
W07 | 2024-02-02 | 33453.3 | 696 | 122 | 472.88 | 223.12 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 67.94 | 0 | 100 | 39.4 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2024-03-03 | 34903.1 | 744 | 122 | 470.46 | 265.92 | 736.38 | 89838.36 | 0 | 7.62 | 0 | 0 | 7.62 | 0 | 63.23 | 0 | 98.98 | 38.45 | 0 | 55 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W07 | 2023-04-04 | 18111.9 | 720 | 122 | 253.5 | 466.5 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 35.21 | 0 | 100 | 20.62 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2023-05-05 | 56910.5 | 744 | 122 | 737.78 | 6.22 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 99.16 | 0 | 100 | 62.7 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2023-06-06 | 49794.6 | 720 | 122 | 670.35 | 49.65 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 93.1 | 0 | 100 | 56.69 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2023-07-07 | 50713.8 | 744 | 122 | 684.98 | 59.02 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 92.07 | 0 | 100 | 55.87 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2023-08-08 | 49572.9 | 744 | 122 | 668.33 | 75.67 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 89.83 | 0 | 100 | 54.62 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2023-09-09 | 18093.7 | 720 | 122 | 255.55 | 464.45 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 35.49 | 0 | 100 | 20.6 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2023-10-10 | 20759.6 | 744 | 122 | 284.64 | 426.83 | 711.47 | 86799.34 | 0 | 32.53 | 0 | 0 | 32.53 | 0 | 38.26 | 0 | 95.63 | 22.87 | 0 | 51 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W07 | 2023-11-11 | 35682.2 | 720 | 122 | 469.8 | 250.2 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 65.25 | 0 | 100 | 40.62 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | 2023-12-12 | 34928.4 | 744 | 122 | 497.48 | 246.52 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 66.87 | 0 | 100 | 38.48 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W07 | Total | 437624.4 | 8784 | 122 | 5950.88 | 2782.82 | 8733.7 | 1065511.4 | 0 | 50.15 | 0.15 | 0 | 50.3 | 0 | 67.635 | 0 | 99.4375 | 40.7625 | 0 | 473 | 0 | 3 | 0.15 | 1 | 0 | 0 | 0
W08 | 2024-01-01 | 8669.6 | 744 | 122 | 123.57 | 50.43 | 174 | 21228 | 0 | 570 | 0 | 0 | 570 | 0 | 16.61 | 0 | 23.39 | 9.55 | 0 | 15 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W08 | 2024-02-02 | 0 | 696 | 122 | 0 | 0 | 0 | 0 | 0 | 696 | 0 | 0 | 696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W08 | 2024-03-03 | 5832.6 | 744 | 122 | 79.37 | 5.5 | 84.87 | 10354.14 | 0 | 659.13 | 0 | 0 | 659.13 | 0 | 10.67 | 0 | 11.41 | 6.43 | 0 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W08 | 2023-04-04 | 36711.6 | 720 | 122 | 510.57 | 209.43 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 70.91 | 0 | 100 | 41.79 | 0 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W08 | 2023-05-05 | 57933.5 | 744 | 122 | 743.53 | 0.47 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 99.94 | 0 | 100 | 63.83 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W08 | 2023-06-06 | 52835.9 | 720 | 122 | 702.3 | 17.7 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 97.54 | 0 | 100 | 60.15 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W08 | 2023-07-07 | 54560.1 | 744 | 122 | 727.67 | 16.33 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 97.81 | 0 | 100 | 60.11 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W08 | 2023-08-08 | 51357.7 | 744 | 122 | 687.98 | 56.02 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 92.47 | 0 | 100 | 56.58 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W08 | 2023-09-09 | 25141.8 | 720 | 122 | 351.73 | 360.5 | 712.23 | 86892.06 | 7.77 | 0 | 0 | 0 | 7.77 | 7.77 | 48.85 | 1.08 | 98.92 | 28.62 | 0.010792 | 51 | 1 | 0 | 0 | 0 | 0 | 0 | 0
W08 | 2023-10-10 | 23592.5 | 744 | 122 | 319.5 | 306.85 | 626.35 | 76414.7 | 85.12 | 32.53 | 0 | 0 | 117.65 | 85.12 | 42.94 | 11.44 | 84.19 | 25.99 | 0.11441 | 46 | 1 | 1 | 0 | 0 | 0 | 0 | 0
W08 | 2023-11-11 | 42755.9 | 720 | 122 | 565.7 | 154.3 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 78.57 | 0 | 100 | 48.67 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W08 | 2023-12-12 | 34104.4 | 744 | 122 | 486.05 | 257.95 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 65.33 | 0 | 100 | 37.57 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W08 | Total | 393495.6 | 8784 | 122 | 5297.97 | 1435.48 | 6733.45 | 821480.9 | 92.89 | 1957.66 | 0 | 0 | 2050.55 | 92.89 | 60.1367 | 1.0433 | 76.4925 | 36.6075 | 0.010433 | 281 | 2 | 4 | 0 | 0 | 0 | 0 | 0
W09 | 2024-01-01 | 35065.5 | 744 | 122 | 487.28 | 256.72 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 65.49 | 0 | 100 | 38.63 | 0 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2024-02-02 | 29309.8 | 696 | 122 | 413.33 | 282.67 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 59.39 | 0 | 100 | 34.52 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2024-03-03 | 43465.2 | 744 | 122 | 588.13 | 155.87 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 79.05 | 0 | 100 | 47.89 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2023-04-04 | 42227.6 | 720 | 122 | 588.58 | 126.77 | 715.35 | 87272.7 | 0 | 0 | 0.68 | 3.97 | 4.65 | 3.97 | 81.75 | 0 | 99.35 | 48.07 | 0.0055139 | 24 | 0 | 0 | 0 | 0 | 1 | 0.68 | 1
W09 | 2023-05-05 | 57419.7 | 744 | 122 | 744 | 0 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 63.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2023-06-06 | 53416.6 | 720 | 122 | 715.68 | 4.32 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 99.4 | 0 | 100 | 60.81 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2023-07-07 | 55404.5 | 744 | 122 | 744 | 0 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 61.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2023-08-08 | 51198.6 | 744 | 122 | 688.15 | 55.85 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 92.49 | 0 | 100 | 56.41 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2023-09-09 | 8523.3 | 720 | 122 | 122.99 | 253.13 | 376.12 | 45886.64 | 0 | 0 | 331.1 | 12.78 | 343.88 | 12.78 | 17.08 | 0 | 52.24 | 9.7 | 0.01775 | 24 | 0 | 0 | 0 | 0 | 1 | 331.1 | 1
W09 | 2023-10-10 | 22518.8 | 744 | 122 | 308.97 | 435.03 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 41.53 | 0 | 100 | 24.81 | 0 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2023-11-11 | 35938.8 | 720 | 122 | 473.32 | 246.68 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 65.74 | 0 | 100 | 40.91 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | 2023-12-12 | 33573.8 | 744 | 122 | 476.28 | 267.72 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 64.02 | 0 | 100 | 36.99 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W09 | Total | 468062.2 | 8784 | 122 | 6350.71 | 2084.76 | 8435.47 | 1029127.34 | 0 | 0 | 331.78 | 16.75 | 348.53 | 16.75 | 72.1617 | 0 | 95.9658 | 43.5867 | 0.0019387 | 318 | 0 | 0 | 0 | 0 | 2 | 331.78 | 2
W10 | 2024-01-01 | 38865.7 | 744 | 122 | 547.4 | 196.45 | 743.85 | 90749.7 | 0.15 | 0 | 0 | 0 | 0.15 | 0.15 | 73.58 | 0.02 | 99.98 | 42.82 | 0.00020161 | 44 | 1 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2024-02-02 | 32783.9 | 696 | 122 | 459.8 | 236.2 | 696 | 84912 | 0 | 0 | 0 | 0 | 0 | 0 | 66.06 | 0 | 100 | 38.61 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2024-03-03 | 13699.4 | 744 | 122 | 190.83 | 106.57 | 297.4 | 36282.8 | 446.6 | 0 | 0 | 0 | 446.6 | 446.6 | 25.65 | 60.03 | 39.97 | 15.09 | 0.60027 | 27 | 1 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2023-04-04 | 28432 | 720 | 122 | 388.55 | 106.72 | 495.27 | 60422.94 | 0 | 224.73 | 0 | 0 | 224.73 | 0 | 53.97 | 0 | 68.79 | 32.37 | 0 | 6 | 0 | 1 | 0 | 0 | 0 | 0 | 0
W10 | 2023-05-05 | 57430.8 | 744 | 122 | 744 | 0 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 63.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2023-06-06 | 53900.3 | 720 | 122 | 720 | 0 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 61.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2023-07-07 | 55517 | 744 | 122 | 744 | 0 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 100 | 61.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2023-08-08 | 54817.8 | 744 | 122 | 737.2 | 6.8 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 99.09 | 0 | 100 | 60.39 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2023-09-09 | 18056.5 | 720 | 122 | 256.29 | 119.83 | 376.12 | 45886.64 | 0 | 0 | 331.1 | 12.78 | 343.88 | 12.78 | 35.6 | 0 | 52.24 | 20.56 | 0.01775 | 21 | 0 | 0 | 0 | 0 | 1 | 331.1 | 1
W10 | 2023-10-10 | 32276.8 | 744 | 122 | 446.95 | 297.05 | 744 | 90768 | 0 | 0 | 0 | 0 | 0 | 0 | 60.07 | 0 | 100 | 35.56 | 0 | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2023-11-11 | 49796.4 | 720 | 122 | 673.47 | 46.53 | 720 | 87840 | 0 | 0 | 0 | 0 | 0 | 0 | 93.54 | 0 | 100 | 56.69 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W10 | 2023-12-12 | 38126.3 | 744 | 122 | 548.4 | 186.2 | 734.6 | 89621.2 | 0 | 0 | 0.07 | 9.33 | 9.4 | 9.33 | 73.71 | 0 | 98.74 | 42 | 0.01254 | 36 | 0 | 0 | 0 | 0 | 1 | 0.07 | 1
W10 | Total | 473702.9 | 8784 | 122 | 6456.89 | 1302.35 | 7759.24 | 946627.28 | 446.75 | 224.73 | 331.17 | 22.11 | 1024.76 | 468.86 | 73.4392 | 5.0042 | 88.31 | 44.1567 | 0.052563 | 236 | 2 | 1 | 0 | 0 | 2 | 331.17 | 2
WAN | TOTAL | 3968103.5 | 87840 |  | 54155.9 | 27539.93 | 81695.83 | 9966891.26 | 562.92 | 4868.83 | 663.35 | 49.07 | 6144.17 | 611.99 | 61.5335 | 0.63108 | 92.9805 | 36.9506 | 0.0068725 | 3301 | 9 | 20 | 0.15 | 1 | 9 | 663.2 | 5
Total Project |  | 7716747.1 | [9 empty] | FOF: 0.57479; AF: 88.2158
PR Availability Factor by Month |  |  |  | PR Forced Outage Factor |  |  | Percentage | YTD Percentage | FOER Hours | Accumulated Hours | Total Hours | YTD hours |  | PR | MWH per month | Available MWH |  | PR | Reserve Shutdown
| Actual | Required |  |  | Actual | Goal < 0.40
Jan | 82.209 | 81.01% |  | Jan | 0 | 0.4 | 0 | 0 | 0 | 7440 | 7440 | 0 |  | Jan | 321526.1 | 581058 |  | Jan | 84
Feb | 79.148 | 78.57% |  | Feb | 0 | 0.4 | 0 | 0 | 0 | 14400 | 6960 | 0 |  | Feb | 265845.6 | 523324.6 |  | Feb | 23
Mar | 80 | 79.4% |  | Mar | 0 | 0.4 | 0 | 0 | 0 | 21840 | 7440 | 0 |  | Mar | 324488.2 | 565440 |  | Mar | 42
Apr | 89.479 | 86.49% |  | Apr | 0 | 0.4 | 0 | 0 | 0 | 29040 | 7200 | 0 |  | Apr | 228391.4 | 612037.5 |  | Apr | 22
May | 89.805 | 89.6% |  | May | 0 | 0.4 | 0 | 0 | 0 | 36480 | 7440 | 0 |  | May | 443110.1 | 634736.8 |  | May | 62
Jun | 89.948 | 89.6% |  | Jun | 0.052 | 0.4 | 0.051667 | 0.0085165 | 3.72 | 43680 | 7200 | 3.72 |  | Jun | 326911.8 | 615246.6 |  | Jun | 102
Jul | 90 | 89.6% |  | Jul | 0 | 0.4 | 0 | 0.007277 | 0 | 51120 | 7440 | 3.72 |  | Jul | 323022.1 | 636120 |  | Jul | 144
Aug | 90 | 89.6% |  | Aug | 0 | 0.4 | 0 | 0.0063525 | 0 | 58560 | 7440 | 3.72 |  | Aug | 373793.9 | 636120 |  | Aug | 193
Sep | 82.278 | 79.93% |  | Sep | 0 | 0.4 | 0 | 0.0056569 | 0 | 65760 | 7200 | 3.72 |  | Sep | 214976.7 | 562781.9 |  | Sep | 134
Oct | 73.652 | 64.14% |  | Oct | 0.318 | 0.4 | 0.31815 | 0.037418 | 23.67 | 73200 | 7440 | 27.39 |  | Oct | 239809.1 | 520574.35 |  | Oct | 142
Nov | 72.799 | 64.42% |  | Nov | 0.224 | 0.4 | 0.22333 | 0.054067 | 16.08 | 80400 | 7200 | 43.47 |  | Nov | 336427.9 | 497947.25 |  | Nov | 149
Dec | 82.096 | 88.2% |  | Dec | 5.628 | 0.4 | 5.6277 | 0.52615 | 418.7 | 87840 | 7440 | 462.17 |  | Dec | 350340.7 | 580258.1 |  | Dec | 104
Wan Availability Factor by Month |  |  |  | Wan Forced Outage Factor |  |  |  | YTD Percentage | FOER Hours | Accumulated Hours | Total Hours | YTD hours |  | Wan | MWH per month | Available MWH |  | Wan | Reserve Shutdown
| Actual | Required |  |  | Actual | Goal < 0.40 | Percentage
Jan | 92.197 | 90.99% |  | Jan | 0.002 | 0.4 | 0.0020161 | 0.0020161 | 0.15 | 7440 | 7440 | 0.15 |  | Jan | 312776.1 | 836844.36 |  | Jan | 371
Feb | 90 | 89.43% |  | Feb | 0 | 0.4 | 0 | 0.0010417 | 0 | 14400 | 6960 | 0.15 |  | Feb | 257892.7 | 764208 |  | Feb | 259
Mar | 85.026 | 90.6% |  | Mar | 6.013 | 0.4 | 6.0128 | 2.049 | 447.35 | 21840 | 7440 | 447.5 |  | Mar | 328865.6 | 771759.8 |  | Mar | 327
Apr | 95.642 | 95.5% |  | Apr | 0 | 0.4 | 0 | 1.541 | 0 | 29040 | 7200 | 447.5 |  | Apr | 218059.9 | 840122.5 |  | Apr | 210
May | 99.92 | 99.43% |  | May | 0 | 0.4 | 0 | 1.2267 | 0 | 36480 | 7440 | 447.5 |  | May | 529890 | 906961.42 |  | May | 125
Jun | 99.913 | 99.6% |  | Jun | 0.087 | 0.4 | 0.086806 | 1.0388 | 6.25 | 43680 | 7200 | 453.75 |  | Jun | 352305.7 | 877637.5 |  | Jun | 334
Jul | 100 | 99.6% |  | Jul | 0 | 0.4 | 0 | 0.88762 | 0 | 51120 | 7440 | 453.75 |  | Jul | 364392.6 | 907680 |  | Jul | 330
Aug | 99.897 | 99.6% |  | Aug | 0 | 0.4 | 0 | 0.77485 | 0 | 58560 | 7440 | 453.75 |  | Aug | 410515.5 | 906749.14 |  | Aug | 160
Sep | 83.224 | 87.06% |  | Sep | 0.108 | 0.4 | 0.10792 | 0.70182 | 7.77 | 65760 | 7200 | 461.52 |  | Sep | 215634.7 | 731036.2 |  | Sep | 330
Oct | 80.216 | 76.4% |  | Oct | 1.363 | 0.4 | 1.3629 | 0.76902 | 101.4 | 73200 | 7440 | 562.92 |  | Oct | 244959.7 | 728096 |  | Oct | 342
Nov | 90 | 78% |  | Nov | 0 | 0.4 | 0 | 0.70015 | 0 | 80400 | 7200 | 562.92 |  | Nov | 379245.3 | 790560 |  | Nov | 201
Dec | 99.731 | 96.34% |  | Dec | 0 | 0.4 | 0 | 0.64085 | 0 | 87840 | 7440 | 562.92 |  | Dec | 353565.7 | 905236.34 |  | Dec | 312
Project Availability Factor by Month |  |  |  | Project Forced Outage Factor |  |  |  | YTD Percentage | FOER Hours | Accumulated Hours | Total Hours | MOH: YTD hours; UOH: Project; SF: MWH per month; FOF: Available MWH
| Actual | Required |  |  | Actual | Goal < 0.40 | Percentage
Jan | 87.203 | 86 |  | Jan | 0.001 | 0.4 | 0.0010081 | 0.0010081 | 0.15 | 14880 | 14880 | MOH: 0.15; UOH: Jan; SF: 634302.2; FOF: 1417902.36
Feb | 84.574 | 84 |  | Feb | 0 | 0.4 | 0 | 0.00052083 | 0 | 28800 | 13920 | MOH: 0.15; UOH: Feb; SF: 523738.3; FOF: 1287532.6
Mar | 82.513 | 85 |  | Mar | 3.0065 | 0.4 | 3.0064 | 1.0245 | 447.35 | 43680 | 14880 | MOH: 447.5; UOH: Mar; SF: 653353.8; FOF: 1337199.8
Apr | 92.5605 | 88 |  | Apr | 0 | 0.4 | 0 | 0.77049 | 0 | 58080 | 14400 | MOH: 447.5; UOH: Apr; SF: 446451.3; FOF: 1452160
May | 94.8625 | 94 |  | May | 0 | 0.4 | 0 | 0.61335 | 0 | 72960 | 14880 | MOH: 447.5; UOH: May; SF: 973000.1; FOF: 1541698.22
Jun | 94.9305 | 94.6 |  | Jun | 0.0695 | 0.4 | 0.069236 | 0.52366 | 9.97 | 87360 | 14400 | MOH: 457.47; UOH: Jun; SF: 679217.5; FOF: 1492884.1
Jul | 95 | 94.6 |  | Jul | 0 | 0.4 | 0 | 0.44745 | 0 | 102240 | 14880 | MOH: 457.47; UOH: Jul; SF: 687414.7; FOF: 1543800
Aug | 94.9485 | 94.6 |  | Aug | 0 | 0.4 | 0 | 0.3906 | 0 | 117120 | 14880 | MOH: 457.47; UOH: Aug; SF: 784309.4; FOF: 1542869.14
Sep | 82.751 | 83 |  | Sep | 0.054 | 0.4 | 0.053958 | 0.35374 | 7.77 | 131520 | 14400 | MOH: 465.24; UOH: Sep; SF: 430611.4; FOF: 1293818.1
Oct | 76.934 | 73 |  | Oct | 0.8405 | 0.4 | 0.84052 | 0.40322 | 125.07 | 146400 | 14880 | MOH: 590.31; UOH: Oct; SF: 484768.8; FOF: 1248670.35
Nov | 81.3995 | 73 |  | Nov | 0.112 | 0.4 | 0.11167 | 0.37711 | 16.08 | 160800 | 14400 | MOH: 606.39; UOH: Nov; SF: 715673.2; FOF: 1288507.25
Dec | 90.9135 | 91 |  | Dec | 2.814 | 0.4 | 2.8138 | 0.5835 | 418.7 | 175680 | 14880 | MOH: 1025.09; UOH: Dec; SF: 703906.4; FOF: 1485494.44

## Sheet1
HOURS | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
REMAINING | 178.2 | 79.2 | -372.5 | -42 | 36.8 | 57.6 | 59.52 | 59.52 | 187 | 915.6 | 1718 | 127.2